{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":10,"n_cols":5,"rows_kept":10,"merged":[[1,0,2,4]]}
["附件："]
["建设工程质量检测机构检查情况汇总表"]
[]
[]
[]
["序号","检查对象","检查时间","检查存在的问题","备注"]
[1,"广东宏鑫工程质量检测有限公司","2022-12-14","1.重要人员变更、重要信息变更后体系文件未及时更新；2.力学试验机设备未安装视频监控。","要求整改"]
[2,"广东和协建设工程检测有限公司","2022-12-14","仪器（混凝土回弹仪）设备期间核查记录未明确标准值。","要求整改"]
[3,"惠州市精恒工程检测有限公司","2022-12-16","1.编号为KF-2022-00192的委托单未填写检测标准；2.检验方法一览表中GB/T2652-2022标准未更新。","要求整改"]
[4,"广东汇荣工程检测技术有限公司","2022-12-16","1.标准养护室湿度计故障；2.水泥比表面积测定仪放置环境不符合标准规范；3.编号B-048回弹仪未按规范标准进行期间核查。","要求整改"]